## HV Module Test
Test Name | Date | Time | Slot | Model | Serial Number | Firmware | Polarity | Overall | Open Box | Check Components | Enter Serial Number | Install Test Kit and Jumper | Power OFF MPOD [Insert] | Confirm Crate Is Off [Insert] | Insert Module into Test Slot | Power ON MPOD [Insert] | Read Serial Number | Check Module Health | Read Safety Loop | Read Module State | Check Green LED | Power OFF MPOD [Jumper Only Test] | Confirm Crate Is Off [Jumper Only Test] | Jumper Only Test | Power ON MPOD [Jumper Only Test] | Read Safety Loop (jumper_only) | Read Module State (jumper_only) | Check Green LED (jumper_only) | Power OFF MPOD [Test Kit Only Test] | Confirm Crate Is Off [Test Kit Only Test] | Test Kit Only Test | Power ON MPOD [Test Kit Only Test] | Read Safety Loop (test_kit_only) | Read Module State (test_kit_only) | Check Green LED (test_kit_only) | Power OFF MPOD [Restore Normal Configuration] | Confirm Crate Is Off [Restore Normal Configuration] | Restore Normal Configuration | Power ON MPOD [Restore Normal Configuration] | Read Safety Loop (restore) | Read Module State (restore) | Check Green LED (restore) | HV Ramp Test | Select Vmax DAQ Channel | Vmax Limit Adjustment | Select Imax DAQ Channel | Imax Limit Adjustment | HV Limit Readback
dry_run | 08/25/2026 | 03:51:51 PM | 2 | E08F2 | DRYRUN123 | 07.52 | negative | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS