## Test Results
|  |  | Fan Test - V/I for power supplying all 4 fans, RD signal outputs | [5 empty] | Heater Test - Results for each heating element and temperature rise after heating time | [7 empty] | HV Test - Results for each configuration. Resistance in Mega Ohms, time constant is tau (seconds) in a*e^(-tau * t)+c
Test Name | Date | Time | Supply Voltage | Supply Current | Fan 1 RD | Fan 2 RD | Fan 3 RD | Fan 4 RD | TC1_Resistance | TC2_Resistance | TC3_Resistance | TC4_Resistance | TC1_Temp_Rise | TC2_Temp_Rise | TC3_Temp_Rise | TC4_Temp_Rise | Ch0+ Open Res | Ch0+ Open Fit | Ch0+ 10k Res | Ch0+ 10k Fit | Ch0- Open Res | Ch0- Open Fit | Ch0- 10k Res | Ch0- 10k Fit | Ch1+ Open Res | Ch1+ Open Fit | Ch1+ 10k Res | Ch1+ 10k Fit | Ch1- Open Res | Ch1- Open Fit | Ch1- 10k Res | Ch1- 10k Fit | Ch2+ Open Res | Ch2+ Open Fit | Ch2+ 10k Res | Ch2+ 10k Fit | Ch2- Open Res | Ch2- Open Fit | Ch2- 10k Res | Ch2- 10k Fit | Ch3+ Open Res | Ch3+ Open Fit | Ch3+ 10k Res | Ch3+ 10k Fit | Ch3- Open Res | Ch3- Open Fit | Ch3- 10k Res | Ch3- 10k Fit | Ch4+ Open Res | Ch4+ Open Fit | Ch4+ 10k Res | Ch4+ 10k Fit | Ch4- Open Res | Ch4- Open Fit | Ch4- 10k Res | Ch4- 10k Fit | Ch5+ Open Res | Ch5+ Open Fit | Ch5+ 10k Res | Ch5+ 10k Fit | Ch5- Open Res | Ch5- Open Fit | Ch5- 10k Res | Ch5- 10k Fit | Ch6+ Open Res | Ch6+ Open Fit | Ch6+ 10k Res | Ch6+ 10k Fit | Ch6- Open Res | Ch6- Open Fit | Ch6- 10k Res | Ch6- 10k Fit | Ch7+ Open Res | Ch7+ Open Fit | Ch7+ 10k Res | Ch7+ 10k Fit | Ch7- Open Res | Ch7- Open Fit | Ch7- 10k Res | Ch7- 10k Fit
resistor_out | 02/16/2024 | 10:50:14 AM
resistor_out | 02/16/2024 | 10:50:58 AM | 23.9891 | 1.0411 | 1.81 | 1.82 | 1.82 | 1.82 | 18.08 | 18.14 | 18.17 | 17.76 | 1.57 | 1.66 | 1.68 | 1.86 | 668.67 | 0.03 | 0.06 | 0.03 | 599.65 | 0.03 | 0.06 | 0.03
no_ground_loop | 02/20/2024 | 11:07:12 AM
cut rd fan | 02/20/2024 | 11:53:07 AM
rewired rd fan | 02/20/2024 | 12:00:32 PM | 23.989 | 1.0183 | 1.81 | 1.82 | 1.82 | 1.82 | 18.08 | 18.13 | 18.17 | 17.76 | 1.67 | 1.74 | 1.76 | 1.94 | 1504.13 | 0.03 | 0.06 | 0.03 | 999.5 | 0.03 | 0.06 | 0.01
now20v | 03/11/2024 | 11:56:18 AM
20v_hv | 03/11/2024 | 11:57:12 AM | 23.9894 | 0.9123 | 1.81 | 1.82 | 1.82 | 1.81 | 18.08 | 18.12 | 18.17 | 17.76 | 1.67 | 1.77 | 1.78 | 1.95 | 102.2 | 0.02 | 0.07 | 0.01 | 111.06 | 0.05 | 0.07 | 0.01
hv_120v | 03/11/2024 | 12:19:59 PM | 23.9893 | 0.9153 | 1.81 | 1.82 | 1.82 | 1.81 | 18.08 | 18.12 | 18.17 | 17.76 | 1.67 | 1.77 | 1.78 | 1.95 | 501.42 | 0.04 | 0.06 | 0.02 | 856.64 | 0.03 | 0.06 | 0.01